## Slide 1: A Cloud Solution for Telemetry Data
Thong Bui
Roy Gvirtsman
Geoffrey Link
Zhongqiao Jin
Happiness Munedzimwe
Monday April 24th, 2017

## Slide 2: What is Telemetry?
A collection of sensor reads over time
Regular or Irregular Reads (eg., storm outages)
Key-Value pairs: { “point”: 180, “epoch”: 1234567, “value”: 14.6}
Examples: Temperature, Wind Direction, Alerts, GPS Coordinates

## Slide 3: How is Telemetry used?
Monitor and Control
SCADA or Supervisory Control and Data Acquisition
Alerts, Troubleshooting, Emergency Response
Operational efficiency: KPI, Decision Support
Predictive maintenance

## Slide 4: KAPACITOR & SLACK
Kapacitor Alerting Rules
kapacitor_alerts3 Slack Channel

## Slide 5: Target Audience & Usage
Remote Operators
  Respond to alerts
  Troubleshoot and recover from equipment failures
Operations Manager
  Monitor operator efficiency
  Quantify lost opportunity
  Preventative maintenance
  Handle escalated operational issues
Market scheduler
  Profitability
  Respond to grid operator’s instructions
Chronograf Host List
Cricket001

## Slide 6: Project Objectives
Create a reporting framework that has the ability to ingest billions of reads from tens of thousands of devices (noisy crickets)
Easily scalable
Fully Hosted in the Cloud (Zero Cap-Ex Platform)
Use only open-source tools
Each device (or cricket) will emit a basic output that can be transmitted over Radio Frequency or Wi-Fi or Cellular

## Slide 7: Data processing requirements
Data Generation (Python Crickets and Softlayer)
Data Summarization (Grafana)
Graphing and Reporting (Capacitor and D3.js)
Retention policy (InfluxDB, 365 Days)
Resilient and Scalable (InfluxDB, n-nodes)
Event Subscription (Slack instead of email)
Alerts and Notifications (Telegraf and Kapacitor)
Predictive Maintenance (K-Means and Neural Networks)

## Slide 8: What is a cricket? Edge Computing!
A Cricket is a device that can transmit data over Radio Frequency or Wi-Fi or Cellular
A common example is the highly versatile Raspberry Pi ($30).
Raspberry Pi Sense HAT with Orientation, Pressure, Humidity, and Temperature Sensors ($30).

## Slide 9: Did we buy 10,000 Raspberry Pi? No.
We used Softlayer Cloud to simulate crickets across the globe.
Amsterdam 01 ams01
Amsterdam 03 ams03
Chennai che01
Dallas 01 dal01
Dallas 02 dal02
Dallas 05 dal05
Dallas 06 dal06
Dallas 07 dal07
Dallas 09 dal09
Dallas 10 dal10
Dallas 12 dal12
Dallas 13 dal13
Frankfurt fra02
Hong Kong hkg02
Houston hou02
London lon02
Melbourne mel01
Milan mil01
Montreal mon01
Oslo osl01
Paris par01
Querétaro mex01
San Jose 01 sjc01
San Jose 03 sjc03
Sao Paulo sao01
Seattle sea01
Seoul 01 seo01
Singapore sng01
Sydney syd01
Tokyo tok02
Toronto tor01
Washington, D.C. 01 wdc01
Washington, D.C. 04 wdc04

## Slide 10: Architecture Overview

## Slide 11: Technology Stack
A Load Balancer is a great way to control data flow to InfluxDB as long as the crickets can store data and recover independently

## Slide 12: Predictive Maintenance using K-Means
If we had more time:
Realistic Data Construction (not randomized)
Spark Streaming K-Means
Analyze Clusters of Devices and their combined WaveForms
Bake-off Old School K-Means vs. New School Neural Networks
NBViewer

## Slide 13: InfluxDB: time series database
Open source
TICK stack (Telegraf, Influxdb, Chronograf, Kapacitor)
Horizontally scalable (paid for product).
3 Meta nodes, 2+ data nodes.
~250,000 inserts/sec, ~25 queries/sec on a single node.
Retention policy + # replicated copies.
Quorum: Write: one copy, Read: choice per sessions. (biased towards heavy writes, light reads, AP)
SQL like syntax
Column store, compression, LSM tree (two component – memory + disk, defer index updates)
TICK Stack

## Slide 14: InfluxDB Query Performance

## Slide 15: Grafana Dashboard
Grafana Dashboard

## Slide 16: Questions?
Thong Bui
Roy Gvirtsman
Geoffrey Link
Zhongqiao Jin
Happiness Munedzimwe
Github Repository